Model 5300A COLLECTanDRAIN

- 2.1	SPRINKLER SPECIALTY PIPE FITTINGS

        - Auxiliary Drain and Condensation Collecting Assemblies for Dry Pipe and Preaction Sprinkler Systems:

          - Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

            - AGF Manufacturing Inc.; Model 5300A COLLECTanDRAIN™.

            - <Insert manufacturer's name>.

          - Standards:

            - UL's "Fire Protection Equipment Directory" listing or "Approval Guide," published by FM Global, listing.

            - NFPA 13 and NFPA 25.

          - Components:

            - Two 1 inch MIPT x FIPT Brass quarter turn ball valves with chrome plated balls.

            - Two 1 inch by 2 inch Galvanized Bell Reducers.

            - 2 inch by 12 inch Condensate Nipple.

            - 1 inch Galvanized Square Head Plug.